## Sheet1
Deployment | Ship | ISAR | Start | End | Days | No of SST | Comment
1 | Norröna | 8 | 2017-12-02 | 2018-03-31 | 119 |  | Ship in dock 23/12 – 4/1. Issue with GPS and ship power supply.
2 | Norröna | 8 | 2018-04-21 | 2018-06-09 | 49 |  | GPS problems.
3 | Norröna | 8 | 2018-06-23 | 2018-09-08 | 78
4 | Norröna | 8 | 2018-09-29 | 2019-01-05 | 99
5 | Norröna | 8 | 2019-02-02 | 2019-03-30 | 57 |  | Mirror contaminated day 62, SST processed until 4/3.
6 | Norröna | 8 | 2019-04-27 | 2019-07-10 | 75 |  | Processed data until 11/5.
7 | Norröna | 8 | 2019-07-23 | 2019-10-12 | 82 |  | Processed data until 4/9.
8 | Norröna | 8 | 2019-11-09 | 2020-01-18 | 71 |  | Processed data until 8/1.
9 | Norröna | 8 | 2020-02-07 | 2020-05-23 | 107 |  | Some data lost due to Norröna in COVID19 quarantine.
10 | Norröna | 8 | 2020-06-06 | 2020-08-21 | 92 |  | GPS problems.
11 | Norröna | 8 | 2020-10-24 | 2020-12-23 | 60 |  | GPS problems. Mirror contaminated day 334, SST processed until 29/11.
12 | Norröna | 18 | 2021-03-13 | 2021-05-08 | 56 |  | Instrument shutter failed on second day of deployment. Data loss.
MW / IR experiment | Norröna | 19 | 2021-05-29 | 2021-06-04 | 7
13 | Norröna | 19 | 2021-07-10 | 2021-10-16 | 99 |  | Mirror contaminated day 276, SST processed until 3/10. Instrument power cut off 23/7 – 7/9.
14 | Norröna | 8 | 2021-10-16 | 2021-12-04 | 49 |  | Shutter remained close during the whole campaign.
15 | Norröna | 19 | 2021-12-04 | 2022-02-19 | 77
16 | Norröna | 18 | 2022-02-19 | 2022-05-21 | 91 |  | Shutter malfunction. No data collected.
17 | Norröna | 8 | 2022-05-21 |  |  |  | No data collected
18 | NPL | 19 | 2022-06-13 | 2022-06-22 | 9 |  | Calibration experiment at NPL and the Channel
19 | Norröna | 19 | 2022-08-06 | 2022-11-05 | 92 |  | 8 days of data. It stopped measurements on the 25 Sept 2022. Valid data only until 14 August 2023
20 | Norröna | 18 | 2022-11-19 | 2022-12-26 | 37 | 3 | 3 days of valid data Form 19-21 November. GPS signal lost for most of the period. GPS data from EMSA is available to be synchronized. Shutter problems persisted and rubber band got stuck in the shutter gear.
21 | Norröna | 18 | 2023-01-20 | 2023-02-18 | 29 | 8 | 8 days of data. Shutter problems persist. IT stopped working on 28 Jan 23( cable changed and extra GPS antenna added during installation)
22 | Norröna | 19 | 2023-02-18 | 2023-04-29 | 71 | 70 | ISAR retrieved no responding. Data uploaded
23 | Norröna | 19 | 2023-05-19 | 2023-07-29 | 73 | 40 | Lost communication with the ISAR. 41 days of data( until 28 June 2023). Retrieved after summer break (ISAR not responding). Presumably due to large size of data files when it's not restarted. Data uploaded.
24 | Norröna | 19 | 2023-08-20 | 2023-09-30 | 42 | 36 | The shutter remained closed from 11 Sept until it was retrieved. It didn’t react to the rain gauge. Presumably humidity affecting the Hall element. Back in the lab the shutter opened normally. Shutter reamined closed from 25.09.23. data was processed and uploaded until 24.09.23
25 | Norröna | 19 | 2023-10-22 | 2024-01-27 | 98 | 34 | Communication bow failed by Dec 9,2023 (Last file date is Dec 5) Comm box and ISAR's shutter not completely closed.
26 | Norröna | 19 | 2024-03-09 | 2024-06-01 | 85 | 14 | Rain gauge connector failed during deployment. Further problems arose showing the Scan Drum is unable to move to BB
27 | Norröna | 19 | 2024-07-06 | 2024-10-05 | 91 |  | Data processing pending. Required an external GPS signal
28 | Norröna | 20 | 2024-11-30
No data released
Future deployment
Ongoing deployment